## Excel2LaTeX (hidden)
RangeAddress | Options | CellWidth | Indent | FileName
0 | 7 | 5 | 0 | Sheet1.tex

## Liquid Class Parameters
ENZYME (single pipetting)
Aspirate |  | Liquid Subclass
| Parameter | 2 - 3.5 µL | 3.51 - 10 µL | 10.1 - 200 µL
| Speed | 5 µL/s | 5 µL/s | 50 µL/s
| Delay | 1000 ms | 1000 ms | 1000 ms
| System Trailing Airgap (STAG) | 20 µL | 20 µL | 20 µL
| Leading Airgap (LAG) | 10 µL | 15 µL | 15 µL
| Trailing Airgap (TAG) | 0 µL | 1 µL | 1 µL
| Excess Volume | 0 µL | 0 µL | 0 µL
| Conditioning Volume | 0 µL | 0 µL | 0 µL
| Pinch Valve | Off | Off | Off
| Liquid Level Detection | Off | Off | Off
| Mix before Aspiration | No | No | No
| Aspirate Position | z-max with -1mm offset (no tracking) | z-max with -1 mm offset (no tracking) | z-max with -1mm offset (no tracking)
| Retract Tips to | current position - 5 mm | z-dispense - 5 mm | current position - 5 mm
| Retraction Speed | 5 mm/s | 5 mm/s | 20 mm/s
ENZYME (single pipetting)
Dispense |  | Liquid Subclass
| Parameter | 2 - 3.5 µL | 3.51 - 10 µL | 10.1 - 200 µL
| Speed | 5 µL/s | 5 µL/s | 100 µL/s
| Breakoff speed | 10 µL/s | 10 µL/s | 100 µL/s
| Delay | 2000 ms | 2000 ms | 2000 ms
| Trailing airgap after each dispense | No | No | No
| Pinch Valve | No | No | No
| Liquid Level Detection | Yes | Yes | Yes
| Dispense Position | Liquid level dection +1 mm offset (center) | Liquid level dection +1 mm offset (center) | Liquid level dection +1 mm offset (center)
| Tip Touching | No | No | No
| Mix after dispense | No | No | No
| Retract Tips to | Current position -5 mm | Current position | Current position
| Retract Speed | 50 mm/s | 50 mm/s | 50 mm/s
DNA (single pipetting)
Aspirate |  | Liquid Subclass
| Parameter | 1.5 - 3.01 µL | 3.01 - 5.01 µL | 5.01 - 15.01 µL
| Speed | 2 µL/s | 5 µL/s | 50 µL/s
| Delay | 500 ms | 500 ms | 1000 ms
| System Trailing Airgap (STAG) | 20 µL | 20 µL | 20 µL
| Leading Airgap (LAG) | 10 µL | 10 µL | 15 µL
| Trailing Airgap (TAG) | 0 µL | 0 µL | 1 µL
| Excess Volume | 0 µL | 0 µL | 0 µL
| Conditioning Volume | 0 µL | 0 µL | 0 µL
| Pinch Valve | Off | Off | Off
| Liquid Level Detection | Yes | Yes | Off
| Mix before Aspiration | No | No | No
| Aspirate Position | Liquid level +1 mm offset (with tracking) | Liquid level +1 mm offset (with tracking) | z-max with -1mm offset (no tracking)
| Retract Tips to | current position - 5 mm | current position - 5 mm | current position - 5 mm
| Retraction Speed | 20 mm/s | 20 mm/s | 20 mm/s
DNA (single pipetting)
Dispense |  | Liquid Subclass
| Parameter | 1.5 - 3.01 µL | 3.01 - 5.01 µL | 5.01 - 15.01 µL
| Speed | 5 µL/s | 10 µL/s | 10 µL/s
| Breakoff speed | 10 µL/s | 10 µL/s | 30 µL/s
| Delay | 200 ms | 200 ms | 1000 ms
| Trailing airgap after each dispense | No | No | No
| Pinch Valve | No | No | No
| Liquid Level Detection | Yes | Yes | No
| Dispense Position | z-max with tracking (no offset) | z-max with tracking (no offset) | z-max -2 mm offset (no tracking)
| Tip Touching | No | No | No
| Mix after dispense | No | No | No
| Retract Tips to | Current position | Current position | z-dispense
| Retract Speed | 50 mm/s | 50 mm/s | 50 mm/s
Note on A2: Swati Carr: This is just FYI; this does not need to go into the table.
Note on A19: Swati Carr: This isjust FYI; this does not need to go into the table.
Note on A35: Swati Carr: This is just FYI; this does not need to go into the table.
Note on A52: Swati Carr: This isjust FYI; this does not need to go into the table.

## Reaction Volumes
Volume per reaction
Deionized Water | 4 µL
10X Ligase Buffer | 2 µL
Promoter (10 fmol) | 2 µL
RBS (10 fmol) | 2 µL
Gene (10 fmol) | 2 µL
Terminator (10 fmol) | 2 µL
Destination Vector (10 fmol) | 2 µL
BsaI | 2 µL
T4 DNA Ligase | 2 µL
TOTAL | 20 µL